Datasheet

No.: 03CQUB1865-120 240-B92-20°

Version: 2025-10-31-02

| ITEM: 03CQUB1865 | INPUT VOLTAGE(V) 120 240 | LENS B92 | LENS DEGREE(°)θ1/2 20° |  | CCT 3000K |
| --- | --- | --- | --- | --- | --- |
|  |  | LIGHT SOURCE |  | 18×4.5W |  |
|  |  | CONSUMPTION(W) |  | 120=90 240=90 |  |
|  |  | OPERATING CURRENT(MA) |  | 120=772 240=394 |  |
|  |  | POWER FACTOR(PF) |  | 1 |  |
|  |  | LUMINANCE(LM) |  | 7771 |  |
|  |  | COLOR RENDERING INDEX |  | RA: 80 |  |
|  |  | IK RATING |  | 07 |  |
|  |  | IP RATING |  | 66 |  |
| PRODUCT SPECIFICATIONS |  |  |  |  |  |
| HOUSING | 12# Die-casting aluminum powder coated. T=60-80μm.Adhesion of ISO class 1/ASTM class 4B |  |  |  |  |
| BRACKET | Iron powder coated. T=2.5mm |  |  |  |  |
| LIGHT WINDOW | Tempered glass.T=3mm |  |  |  |  |
| LED TYPE | SMD |  |  |  |  |
| LED DRIVER | Built in on/off driver |  |  |  |  |
| CABLE GLAND | IP68 PG-11 PA66 |  |  |  |  |
| GASKET | Tooling shaped seal |  |  |  |  |
| POWER CABLE | Outside of luminaire (Without waterstopper) 120V/240V: H07RN-F 3×1.0mm², L=2.0m |  |  |  |  |
| OPERATING TEMPERATURE | -20˚C~40˚C |  |  |  |  |
| WATER PROOF SOLUTION |  |  |  |  |  |

| ACCESSORIES(OPTIONAL) |  |
| --- | --- |
| Hood | Anti Glare Louver |

| PAINTING COLOR |  |
| --- | --- |
| Primary | Secondary |

PHOTOMETRIC

CERTIFICATES