Datasheet

No.: 03GKAB1259-DC 24-FB12B5-45°

Version: 2025-10-31-02

| ITEM: 03GKAB1259 | INPUT VOLTAGE(V) DC 24 | LENS FB12B5 | LENS DEGREE(°)θ1/2 45° |  | CCT 3000K |
| --- | --- | --- | --- | --- | --- |
|  |  | LIGHT SOURCE |  | 12×3W |  |
|  |  | CONSUMPTION(W) |  | 35 |  |
|  |  | OPERATING CURRENT(MA) |  | 1430 |  |
|  |  | POWER FACTOR(PF) |  | 1 |  |
|  |  | LUMINANCE(LM) |  | 2940 |  |
|  |  | COLOR RENDERING INDEX |  | RA: 80 |  |
|  |  | IK RATING |  | 06 |  |
|  |  | IP RATING |  | 66 |  |
| PRODUCT SPECIFICATIONS |  |  |  |  |  |
| HOUSING | 12# Die-casting dark grey powder coated aluminum T=60-80μm.Adhesion of ISO class 1/ASTM class 4B |  |  |  |  |
| LIGHT WINDOW | Tempered Glass.T=3mm |  |  |  |  |
| GASKET | Tooling shaped seal |  |  |  |  |
| LED TYPE | SMD |  |  |  |  |
| LED DRIVER | Built in on/off driver |  |  |  |  |
| POWER CABLE | Outside of luminaire (Without waterstopper) 12V/24V: H05RN-F 2×1.0mm², L=2.0m |  |  |  |  |
| DIMMING SUPPORT | External DALl supported TRIAC,0-10V,PWM via external driver on request |  |  |  |  |
| OPERATING RESTRICT | -20˚C~40˚C |  |  |  |  |
| WATER PROOF SOLUTION |  |  |  |  |  |

| PAINTING COLOR |  |
| --- | --- |
| Primary | Secondary |

PHOTOMETRIC

CERTIFICATES