Datasheet

No.: 07ACXB0258-DC 24-B33-30°

Version: 2025-11-06-03

| ITEM: 07ACXB0258 | INPUT VOLTAGE(V) DC 24 |  | LENS B33 |  | LENS DEGREE(°)θ1/2 30° |  | CCT 3000K |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | LIGHT SOURCE |  | 2×3W |  |
|  |  |  |  | CONSUMPTION(W) |  | 9 |  |
|  |  |  |  | OPERATING CURRENT(MA) |  | 374 |  |
|  |  |  |  | POWER FACTOR(PF) |  | 1 |  |
|  |  |  |  | LUMINANCE(LM) |  | 288x2 |  |
|  |  |  |  | COLOR RENDERING INDEX |  | RA: 80 |  |
|  |  |  |  | IK RATING |  | 04 |  |
|  |  |  |  | IP RATING |  | 65 |  |
| PRODUCT SPECIFICATIONS |  |  |  |  |  |  |  |
| FRONT COVER& HOUSING | 12# Die-casting aluminum finishing or powder Painting T=60-80µm.Adhesion of ISO class 1/ASTM class 4B |  |  |  |  |  |  |
| LENS | OPTICS Lens, efficiency≥85% |  |  |  |  |  |  |
| LED TYPE | COB |  |  |  |  |  |  |
| LIGHT WINDOW | Tempered glass. T=3mm |  |  |  |  |  |  |
| CABLE GLAND | Nickel coated copper |  |  |  |  |  |  |
| GASKET | Tooling shaped seal |  |  |  |  |  |  |
| PCB | Excellent heat conductivity aluminum, coefficient of heat Conductivity≥2.0w/mk |  |  |  |  |  |  |
| LED DRIVER | Built in on/off driver |  |  |  |  |  |  |
| POWER CABLE | Outside of luminaire (Without waterstopper) 12V/24V: H05RN-F 2×1.0mm², L=0.4m |  |  |  |  |  |  |
| DIMMING SUPPORT | External DALl supported TRIAC,0-10V, PWM via external driver on request |  |  |  |  |  |  |
| OPERATING RESTRICT | -20°C~40°C |  |  |  |  |  |  |
| PAINTING COLOR |  |  |  |  |  |  |  |
| Primary |  | Secondary |  |  |  |  |  |

INSTALLATION TYPES BY DIFFERENT WIRING

PHOTOMETRIC

CERTIFICATES