Datasheet

No.: 07DHB0124K(ONE SIDE)-DC 24-B54-24°

Version: 2025-11-05-03

| ITEM: 07DHB0124K(ONE SIDE) | INPUT VOLTAGE(V) DC 24 | LENS B54 | LENS DEGREE(°)θ1/2 24° |  | CCT 3000K |
| --- | --- | --- | --- | --- | --- |
|  |  | LIGHT SOURCE |  | 1×4.5W |  |
|  |  | CONSUMPTION(W) |  | 5.6 |  |
|  |  | OPERATING CURRENT(MA) |  | 233 |  |
|  |  | POWER FACTOR(PF) |  | 1 |  |
|  |  | LUMINANCE(LM) |  | WW=282 |  |
|  |  | COLOR RENDERING INDEX |  | RA: 80 |  |
|  |  | IK RATING |  | 08 |  |
|  |  | IP RATING |  | 65 |  |
| PRODUCT SPECIFICATIONS |  |  |  |  |  |
| HOUSING | Extruded aluminum alloy #6063 powder coated T=60-80μm. Adhesion of ISO class 1/ASTM class 4B |  |  |  |  |
| LIGHT WINDOW | PC |  |  |  |  |
| GASKET | Tooling shaped seal |  |  |  |  |
| OPERATING RESTRICT | -20˚ C~40˚ C |  |  |  |  |
| LED DRIVER | Built in on/off driver |  |  |  |  |
| LED TYPE | COB |  |  |  |  |
| POWER CABLE | Outside of luminaire (Without waterstopper) 12V/24V: H05RN-F 2×1.0mm², L=0.3m |  |  |  |  |
| DIAGRAM OF INSTRUCTION |  |  |  |  |  |

| PAINTING COLOR |  |
| --- | --- |
| Primary | Secondary |

PHOTOMETRIC

CERTIFICATES