Datasheet

No.: 07EMHB0459-DC 24-FB11B4-30°

Version: 2025-11-06-03

| ITEM: 07EMHB0459 | INPUT VOLTAGE(V) DC 24 | LENS FB11B4 | LENS DEGREE(°)θ1/2 30° |  | CCT 3000K |
| --- | --- | --- | --- | --- | --- |
|  |  | LIGHT SOURCE |  | 4×3.5W |  |
|  |  | CONSUMPTION(W) |  | 15 |  |
|  |  | OPERATING CURRENT(MA) |  | 630 |  |
|  |  | POWER FACTOR(PF) |  | 1 |  |
|  |  | LUMINANCE(LM) |  | 1206 |  |
|  |  | COLOR RENDERING INDEX |  | RA: 80 |  |
|  |  | IK RATING |  | 06 |  |
|  |  | IP RATING |  | 65 |  |
| PRODUCT SPECIFICATIONS |  |  |  |  |  |
| HOUSING | 12# Die-casting aluminum finishing or powder Painting T=60-80μm. Adhesion of ISO class 1/ASTM class 4B |  |  |  |  |
| LIGHT WINDOW | Tempered Glass 3mm |  |  |  |  |
| GASKET | Tooling shaped seal |  |  |  |  |
| LED | SMD |  |  |  |  |
| LED DRIVER | Built in on/off driver |  |  |  |  |
| OPERATING TEMPERATURE | -20˚ C~40˚ C |  |  |  |  |
| POWER CABLE | Outside of luminaire (Without waterstopper) 12V/24V: H05RN-F 2×1.0mm², L=0.3m |  |  |  |  |
| DIAGRAM OF INSTRUCTION |  |  |  |  |  |

| Accessories(Optional) |  |
| --- | --- |
| BEVEL CUT HOOD | ANTI GLARE LOUVER |

| PAINTING COLOR |  |
| --- | --- |
| Primary | Secondary |

PHOTOMETRIC

CERTIFICATES