Datasheet

No.: 07KTD3032-DC 24

Version: 2025-11-06-03

| ITEM: 07KTD3032 | INPUT VOLTAGE(V) DC 24 | LENS N/A |  | LENS DEGREE(°)θ1/2 N/A |  | CCT 3000K |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | LIGHT SOURCE |  | 30×0.07W |  |
|  |  |  | CONSUMPTION(W) |  | 3.2 |  |
|  |  |  | OPERATING CURRENT(MA) |  | 135 |  |
|  |  |  | POWER FACTOR(PF) |  | 1 |  |
|  |  |  | LUMINANCE(LM) |  | 87 |  |
|  |  |  | COLOR RENDERING INDEX |  | RA: 80 |  |
|  |  |  | IK RATING |  | 09 |  |
|  |  |  | IP RATING |  | 65 |  |
| PRODUCT SPECIFICATIONS |  |  |  |  |  |  |
| HOUSING&MOUNTING BASE | 12# Die-casting aluminum finishing or powder coated painting T=60-80µm.Adhesion of ISO class 1/ASTM class 4B |  |  |  |  |  |
| LIGHT WINDOW | UVstop & Fireproof PC T=2.5mm |  |  |  |  |  |
| GASKET | Tooling shaped seal |  |  |  |  |  |
| SLEEVE | ADC |  |  |  |  |  |
| LED TYPE | SMD |  |  |  |  |  |
| LED DRIVER | Built in on/off driver |  |  |  |  |  |
| OPERATING TEMPERATURE | -20˚ C~40˚ C |  |  |  |  |  |
| POWER CABLE | Outside of luminaire (Without waterstopper) 12V/24V: H05RN-F 2×1.0mm², L=0.3m |  |  |  |  |  |
| DIAGRAM OF INSTRUCTION |  |  |  |  |  |  |

| PAINTING COLOR |  |
| --- | --- |
| Primary | Secondary |

PHOTOMETRIC

CERTIFICATES