Datasheet

No.: 09DZMB0857-DC 24-A10-50°

Version: 2025-11-07-03

| ITEM: 09DZMB0857 | INPUT VOLTAGE(V) DC 24 | LENS A10 | LENS DEGREE(°)θ1/2 50° |  | CCT 3000K |
| --- | --- | --- | --- | --- | --- |
|  |  | HEIGHT(mm) |  | 836 |  |
|  |  | LIGHT SOURCE |  | 8×1.5W |  |
|  |  | CONSUMPTION(W) |  | 13.3 |  |
|  |  | OPERATING CURRENT(MA) |  | 554 |  |
|  |  | POWER FACTOR(PF) |  | 1 |  |
|  |  | LUMINANCE(LM) |  | 1210 |  |
|  |  | COLOR RENDERING INDEX |  | RA: 80 |  |
|  |  | IK RATING |  | 08 |  |
|  |  | IP RATING |  | 65 |  |
| PRODUCT SPECIFICATIONS |  |  |  |  |  |
| HOUSING | 12# Die-casting aluminum powder coated. T=60-80μm Adhesion of ISO class 1/ASTM class 4B |  |  |  |  |
| LIGHT WINDOW | PC |  |  |  |  |
| LED TYPE | SMD |  |  |  |  |
| LED DRIVER | Built in on/off driver |  |  |  |  |
| OPERATING TEMPERATURE | -20°C~40°C |  |  |  |  |
| POWER CABLE | Outside of luminaire (Without waterstopper) 12V/24V: H05RN-F 2×1.0mm², L=0.5m |  |  |  |  |
| BASE | Flange Base |  |  |  |  |
| DIMMING SUPPORT | External DALl supported TRIAC,0-10V,PWM via external driver on request |  |  |  |  |
| INSTALLATION BASE |  |  |  |  |  |

PAINTING COLOR

PHOTOMETRIC

CERTIFICATES