Datasheet

No.: 09EEHD2434-120 240

Version: 2025-11-07-02

| ITEM: 09EEHD2434 | INPUT VOLTAGE(V) 120 240 | LENS N/A | LENS DEGREE(°)θ1/2 N/A |  | CCT 3000K |
| --- | --- | --- | --- | --- | --- |
|  |  | HEIGHT(mm) |  | 800 |  |
|  |  | LIGHT SOURCE |  | 24×0.2W |  |
|  |  | CONSUMPTION(W) |  | 120=6.7 240=6.5 |  |
|  |  | OPERATING CURRENT(MA) |  | 120=95 240=50 |  |
|  |  | POWER FACTOR(PF) |  | 0.48 |  |
|  |  | LUMINANCE(LM) |  | 79 |  |
|  |  | COLOR RENDERING INDEX |  | RA: 80 |  |
|  |  | IK RATING |  | 07 |  |
|  |  | IP RATING |  | 65 |  |
| PRODUCT SPECIFICATIONS |  |  |  |  |  |
| HOUSING | 12# Die-casting aluminum powder coated. T=60-80μm Adhesion of ISO class 1/ASTM class 4B |  |  |  |  |
| LIGHT WINDOW | PMMA |  |  |  |  |
| LED TYPE | SMD |  |  |  |  |
| LED DRIVER | Built in on/off driver |  |  |  |  |
| OPERATING TEMPERATURE | -20˚C~40˚C |  |  |  |  |
| POWER CABLE | Outside of luminaire (Without waterstopper) 120V/240V: H05RN-F 3×1.0mm², L=0.5m |  |  |  |  |
| BASE | Flange base |  |  |  |  |
| DIMMING SUPPORT | External DALl supported TRIAC,0-10V,PWM via external driver on request |  |  |  |  |

| BASE OPTIONS |  |  |
| --- | --- | --- |
| Base Style |  |  |
| Inground Base (Optional) |  |  |
| Ground Anchor Base And Installationb steps (Optional) |  |  |

PAINTING COLOR

PHOTOMETRIC

CERTIFICATES