Datasheet

No.: 01BCD4232-DC 24

Version: 2025-10-29-03

| ITEM: 01BCD4232 | INPUT VOLTAGE(V) DC 24 |  | LENS N/A | LENS DEGREE(°)θ1/2 N/A |  | CCT 3000K |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | LIGHT SOURCE |  | 42×0.07W |  |
|  |  |  | CONSUMPTION(W) |  | 5.3 |  |
|  |  |  | OPERATING CURRENT(MA) |  | 200 |  |
|  |  |  | POWER FACTOR(PF) |  | 1 |  |
|  |  |  | LUMINANCE(LM) |  | CW=47 WW=44 |  |
|  |  |  | COLOR RENDERING INDEX |  | RA: 80 |  |
|  |  |  | IK RATING |  | 10 |  |
|  |  |  | IP RATING |  | 65 |  |
| PRODUCT SPECIFICATIONS |  |  |  |  |  |  |
| FRONT COVER | Stainless Steel 316L# |  |  |  |  |  |
| HOUSING | 12# Die-casting aluminum powder coated T=60-80μm. Adhesion of ISO class 1/ASTM class 4B |  |  |  |  |  |
| LIGHT WINDOW | UVstop & Fireproof PC Glass T=3mm |  |  |  |  |  |
| CABLE GLAND | IP68 PG-9 PA66 |  |  |  |  |  |
| GASKET | Molding Shaped silicone seal |  |  |  |  |  |
| SLEEVE | SUS 202# |  |  |  |  |  |
| OPERATING RESTRICT | -20˚C~40˚C |  |  |  |  |  |
| LED DRIVER | Built in on/off driver |  |  |  |  |  |
| POWER CABLE | Outside of luminaire (Without waterstopper) DC power: H05RN-F 2×1.0mm², L=0.5m(12V/24V) |  |  |  |  |  |
| LED TYPE | SMD |  |  |  |  |  |
| DIMMING SUPPORT | External DALl supported TRIAC,0-10V,PWM via external driver on request |  |  |  |  |  |
| RECESSED SLEEVE(Included) |  | DIAGRAM OF INSTRUCTION |  |  |  |  |

| PAINTING COLOR |  |
| --- | --- |
| Primary | Secondary |

PHOTOMETRIC

CERTIFICATES