Datasheet

No.: 01CND1434-240

Version: 2025-10-29-03

| ITEM: 01CND1434 | INPUT VOLTAGE(V) 240 |  | LENS N/A | LENS DEGREE(°)θ1/2 N/A |  | CCT 3000K |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | LIGHT SOURCE |  | 14×0.5W |  |
|  |  |  | CONSUMPTION(W) |  | 7.5 |  |
|  |  |  | OPERATING CURRENT(MA) |  | 32 |  |
|  |  |  | POWER FACTOR(PF) |  | 1 |  |
|  |  |  | LUMINANCE(LM) |  | 112 |  |
|  |  |  | COLOR RENDERING INDEX |  | RA: 80 |  |
|  |  |  | IK RATING |  | 10 |  |
|  |  |  | IP RATING |  | 65 |  |
| PRODUCT SPECIFICATIONS |  |  |  |  |  |  |
| HOUSING | 12# Die-casting aluminum KAP7037 finishing or powder Painting T=60-80μm.Adhesion of ISO class 1/ASTM class 4B |  |  |  |  |  |
| FRONT COVER | 12# Die-casting aluminum powder coated T=60-80μm.Adhesion of ISO class 1/ASTM class 4B |  |  |  |  |  |
| LIGHT WINDOW | Glass |  |  |  |  |  |
| CABLE GLAND | IP67 copper and nicked coated |  |  |  |  |  |
| GASKET | Tooling shaped seal |  |  |  |  |  |
| SLEEVE | Option 1: PC/ABS ALLOYS with iron bracket Option 2: Stainless Steel |  |  |  |  |  |
| OPERATING RESTRICT | -20˚C~40˚C |  |  |  |  |  |
| LED TYPE | SMD |  |  |  |  |  |
| LED DRIVER | Built in on/off driver |  |  |  |  |  |
| POWER CABLE | Outside of luminaire (Without waterstopper) AC power: H05RN-F 3×1.0mm², L=0.3m(120V/240V) |  |  |  |  |  |
| DIMMING SUPPORT | External DALl supported TRIAC,0-10V,PWM via external driver on request |  |  |  |  |  |
| RECESSED SLEEVE(Included) |  | DIAGRAM OF INSTRUCTION |  |  |  |  |

| PAINTING COLOR |  |
| --- | --- |
| Primary | Secondary |

PHOTOMETRIC

CERTIFICATES