Datasheet

No.: 02RQBB2456P-DC 24-B15-15°

Version: 2025-10-30-02

| ITEM: 02RQBB2456P | INPUT VOLTAGE(V) DC 24 | LENS B15 | LENS DEGREE(°)θ1/2 15° |  | CCT 3000K |
| --- | --- | --- | --- | --- | --- |
|  |  | LIGHT SOURCE |  | 24×1.2W |  |
|  |  | CONSUMPTION(W) |  | 38.4 |  |
|  |  | OPERATING CURRENT(MA) |  | 1600 |  |
|  |  | POWER FACTOR(PF) |  | 1 |  |
|  |  | LUMINANCE(LM) |  | 2968 |  |
|  |  | COLOR RENDERING INDEX |  | RA: 80 |  |
|  |  | IK RATING |  | 09 |  |
|  |  | IP RATING |  | 67 |  |
| PRODUCT SPECIFICATIONS |  |  |  |  |  |
| HOUSING | Extruded aluminum, powder coated |  |  |  |  |
| FRONT COVER | SUS 316L#, Hard chrome-plated |  |  |  |  |
| LIGHT WINDOW | Tempered step glass.T=6mm |  |  |  |  |
| GLASS PRESSURE CAPACITY | 2,524 kgs. |  |  |  |  |
| CABLE GLAND | IP68 PG-9 PA66 |  |  |  |  |
| GASKET | Glass and Housing are silicone seaLED Type |  |  |  |  |
| SLEEVE | RAL9005 Powder Coated Aluminum |  |  |  |  |
| LENS | Optical Lens.efficiency≥85% |  |  |  |  |
| LED TYPE | SMD |  |  |  |  |
| POWER CABLE | Outside of luminaire (Without waterstopper) 12V/24V: H05RN-F 2×1.0mm², L=0.5m |  |  |  |  |
| OPERATING TEMPERATURE | -20˚C~40˚C |  |  |  |  |
| DIMMING SUPPORT | External DALl supported TRIAC,0-10V,PWM via external driver on request |  |  |  |  |
| WATER PROOF SOLUTION |  |  |  |  |  |

SLEEVE(INCLUDED)

PHOTOMETRIC

CERTIFICATES